{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Total fersk"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Total fersk","index":0,"n_rows":24,"n_cols":12,"rows_kept":24,"cut":false,"hidden":false,"merged":[[0,2,1,5],[2,0,2,1],[3,0,5,0],[6,0,8,0],[9,0,11,0],[12,0,14,0],[15,0,17,0],[18,0,20,0],[21,0,23,0],[0,0,1,1]]}
[null,null,"Belastning til ferske vande"]
[]
["Vandområde",null,"Damhusåen","Harrestrup Å","Kagsåen","Amager Fælled","Kalvebod Fælled","Nordre Landkanal","Ørestad Kanaler","Søborghus Rende","Utterslev Mose","SUM"]
["Reduceret areal       ha","Status",390.51906299999996,249.45186899999999,1.8096160000000001,44.400000000000006,49.07,132.49816000000001,49.029999999999987,22.711001,160.22796399999999,{"$f":"SUM(C4:K4)","v":1099.7176729999999}]
[null,"Plan",390.51906299999996,253.72686899999999,1.8096160000000001,44.400000000000006,49.07,132.49816000000001,481.00327499999997,22.711001,160.22796399999999,{"$f":"SUM(C5:K5)","v":1535.9659479999998}]
[null,"Strategi",390.51906299999996,334.95186899999999,1.8096160000000001,44.400000000000006,49.07,132.49816000000001,622.33660833333329,22.711001,160.22796399999999,1758.524281333333]
["Maks udledning        l/s","Status",19800,20500,800,3125,5725,7227,21289.4,1360,7880,87706.4]
[null,"Plan",19800,20760,800,3125,5755,7227,21289.4,1360,7880,87996.4]
[null,"Strategi",19800,25630,800,3125,5755,7227,29769.4,1360,7880,101346.4]
["Overløbshyppighed antal/år","Status",17.95,49,0.2,36,19,56,32,7,11.5,228.65]
[null,"Plan",17.95,5,0.2,36,16,56,16,6,6.5,159.65]
[null,"Strategi",11,3.7334595959595962,0.1,0,16,55.1,15.5,2.4,2.95,106.7834595959596]
["Vand                         m3/år","Status",30342,241616,100,110122.33881747222,147457.65512265512,49671.832130832132,411848.17311030836,3467,15500,1010124.9991812678]
[null,"Plan",30342,47328.588989898992,100,110122.33881747222,162678.43434343435,49671.832130832132,411848.17311030836,2867,7166.6666666666661,822125.03405861265]
[null,"Strategi",4304,313742.92878787877,50,163510.41700358089,170812.35606060608,47576.423737373734,864067.13176582369,600,2616.6666666666665,1567279.92402193]
["COD                            kg/år","Status",1517.1000000000001,12080.8,5,17619.574210795556,23593.224819624818,7417.2931409331404,53630.267697649324,173.35,775,116811.60986900284]
[null,"Plan",1517.1000000000001,4896.4294494949499,5,17619.574210795556,26028.549494949493,7417.2931409331404,53630.267697649324,143.35,358.33333333333331,111615.89732715579]
[null,"Strategi",215.63749999999999,48687.146439393939,2.5,26161.666720572946,27329.976969696971,7559.2077979797978,132893.1085825318,30,130.83333333333334,243010.0773435088]
["Total N                    kg/år","Status",60.684000000000026,483.23200000000003,0.2,1101.2233881747222,1474.5765512265511,458.15832130832126,3226.4497311030827,6.9340000000000002,31,6842.4579918126774]
[null,"Plan",60.684000000000026,278.65717797979801,0.2,1101.2233881747222,1626.7843434343433,458.15832130832126,3226.4497311030827,5.7340000000000009,14.333333333333332,6772.2242953336008]
[null,"Strategi",8.6254999999999953,3027.4858575757576,0.1,1635.1041700358091,1708.1235606060607,471.90823737373739,8251.0253176582373,1.2000000000000002,5.2333333333333334,15108.805976582937]
["Total P                                         kg/år","Status",15.171000000000006,870.80799999999999,0.05,275.30584704368056,368.64413780663779,114.53958032708032,806.61243277577069,1.7335,7.75,2460.6144979531691]
[null,"Plan",15.171000000000006,12.164294494949495,0.05,275.30584704368056,406.69608585858583,114.53958032708032,806.61243277577069,1.4335000000000002,3.583333333333333,1635.5560738334002]
[null,"Strategi",2.1563749999999988,6.8714643939393936,2.5000000000000001E-2,408.77604250895229,427.03089015151517,117.97705934343435,2062.7563294145593,0.30000000000000004,1.3083333333333333,3027.2014941457342]