{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Harrestrup Å"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Harrestrup Å","index":0,"n_rows":28,"n_cols":70,"rows_kept":28,"cut":false,"hidden":false,"merged":[[19,0,21,0],[19,52,21,52],[22,0,24,0],[22,52,24,52],[25,0,27,0],[25,52,27,52],[10,0,12,0],[10,52,12,52],[13,0,15,0],[13,52,15,52],[16,0,18,0],[16,52,18,52],[3,0,3,1],[3,52,3,53],[4,0,6,0],[4,52,6,52],[7,0,9,0],[7,52,9,52],[0,0,1,1],[0,2,1,4],[0,52,1,53],[0,54,1,56],[2,0,2,1],[2,52,2,53]]}
["Vandområde",null,"Harrestrup Å",{"$nulls":49},"Vandområde",null,"Damhusåen"]
[]
["Udlednings nr. ",null,"UH10","UH11","UH12","UH13","UH14","UØX7",{"$nulls":44},"Udlednings nr. ",null,"UD10b","UD10d","UD11b","UD12","UD13","UD14","UD15","UD16","UD17","UD18","UD19b","UD20b","UD21","UD21b","UD24","Sum"]
["Adresse",null,"Damhusengen","Toftøjevej","Jyllingevej","Rødovre Stadion","Spangen","KV til Harrestrup Å 2028","SUM",{"$nulls":43},"Adresse",null,"Nødoverløb Damhusåens renseanlæg","Hovedoverløb Damhus-ledning","Åhaven","Sønderkær","Vigerslev Allé","Gårdstedet","Heldbovej","Lykkebovej","Landlystvej","Skyttegårdsvej","Sandhusvej","Hvidovre station","Vigerslev-parken N for Dæmningen","Nødoverløb ved Torpedo-bygværket","Roskildevej","-"]
["Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","-","-",{"$nulls":43},"Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Separat","-",{"$nulls":44},"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Separat","-",{"$nulls":44},"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
["Reduceret areal       ha","Status",26.584792,73.276557999999994,17.128219000000001,21.980862999999999,110.481437,"-",{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":249.45186899999999},{"$nulls":43},"Reduceret areal       ha","Status",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,{"$f":"SUM(BC8:BQ8)","v":390.51906299999996}]
[null,"Plan",26.584792,73.276557999999994,17.128219000000001,21.980862999999999,110.481437,4.2749999999999995,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":253.72686899999999},{"$nulls":44},"Plan",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
[null,"Strategi",26.584792,73.276557999999994,17.128219000000001,21.980862999999999,110.481437,85.499999999999986,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":334.95186899999999},{"$nulls":44},"Strategi",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
["Maks udledning        l/s","Status",2000,5000,2000,1500,10000,"-",{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":20500},{"$nulls":43},"Maks udledning        l/s","Status",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Plan",2000,5000,2000,1500,10000,260,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":20760},{"$nulls":44},"Plan",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Strategi",2000,5000,2000,1500,10000,5130,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":25630},{"$nulls":44},"Strategi",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
["Overløbshyppighed antal/år","Status",3,16,10,11,9,"-",{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":49},{"$nulls":43},"Overløbshyppighed antal/år","Status",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Plan",1,1,1,1,1,0,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":5},{"$nulls":44},"Plan",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Strategi",1,0.4375,0.7,0.81818181818181823,0.77777777777777779,0,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":3.7334595959595962},{"$nulls":44},"Strategi",1,0.1,0.05,0.01,0.01,0.01,0.01,0.01,2.5000000000000001E-2,0.03,0.01,0.01,0.02,0,10,"-"]
["Vand                         m3/år","Status",2071,42928,6784,5700,184133,"-",{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":241616},{"$nulls":43},"Vand                         m3/år","Status",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,{"$f":"SUM(BC17:BQ17)","v":30342}]
[null,"Plan",684.38333333333333,2573.35,666.24,503.7045454545455,19900.911111111112,23000,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":47328.588989898992},{"$nulls":44},"Plan",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,30342]
[null,"Strategi",684.38333333333333,612.5,544,285.79545454545456,11616.25,300000,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":313742.92878787877},{"$nulls":44},"Strategi",1704,1500,50,100,10,10,10,10,50,10,10,10,50,0,780,4304]
["COD                            kg/år","Status",103.55000000000001,2146.4,339.20000000000005,285,9206.65,"-",{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":12080.8},{"$nulls":43},"COD                            kg/år","Status",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Plan",34.219166666666666,128.66749999999999,33.312000000000005,25.185227272727275,995.04555555555567,3680,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":4896.4294494949499},{"$nulls":44},"Plan",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Strategi",34.219166666666666,30.625,27.200000000000006,14.289772727272727,580.8125,48000,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":48687.146439393939},{"$nulls":44},"Strategi",85,75,2,5.9,0.5,0.5,0.5,0.5,2.5,0.5,0.5,0.5,2.5,0,39,215.4]
["Total N                    kg/år","Status",4.1420000000000003,85.856000000000009,13.568,11.4,368.26600000000002,"-",{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":483.23200000000003},{"$nulls":43},"Total N                    kg/år","Status",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Plan",1.3687666666666667,5.1467000000000001,1.3324800000000001,1.0074090909090909,39.801822222222221,230,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":278.65717797979801},{"$nulls":44},"Plan",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Strategi",1.3687666666666667,1.2250000000000001,1.0880000000000001,0.57159090909090915,23.232499999999998,3000,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":3027.4858575757576},{"$nulls":44},"Strategi",3.4,3,0.08,0.2,0.02,0.02,0.02,0.02,0.1,0.02,0.02,0.02,0.1,0,1.6,8.6199999999999974]
["Total P                                         kg/år","Status",1.0355000000000001,21.464000000000002,3.3919999999999999,2.85,92.066500000000005,750,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":870.80799999999999},{"$nulls":43},"Total P                                         kg/år","Status",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Plan",0.34219166666666667,1.286675,0.33312000000000003,0.25185227272727273,9.9504555555555552,0,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":12.164294494949495},{"$nulls":44},"Plan",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Strategi",0.34219166666666667,0.30625000000000002,0.27200000000000002,0.14289772727272729,5.8081249999999995,0,{"$f":"SUM(Tabel13[[#This Row],[Damhusengen]:[KV til Harrestrup Å 2028]])","v":6.8714643939393936},{"$nulls":44},"Strategi",0.8,0.75,0.02,0.06,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,0,0.4,{"$f":"SUM(BC28:BQ28)","v":2.1149999999999993}]