{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Inderhavnen"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Inderhavnen","index":0,"n_rows":54,"n_cols":84,"rows_kept":54,"cut":false,"hidden":false,"merged":[[42,0,44,0],[45,0,47,0],[48,0,50,0],[51,0,53,0],[28,0,28,1],[29,0,29,1],[30,0,32,0],[33,0,35,0],[36,0,38,0],[39,0,41,0],[19,0,21,0],[19,66,21,66],[22,0,24,0],[22,66,24,66],[25,0,27,0],[25,66,27,66],[10,0,12,0],[10,66,12,66],[13,0,15,0],[13,66,15,66],[16,0,18,0],[16,66,18,66],[3,0,3,1],[3,66,3,67],[4,0,6,0],[4,66,6,66],[7,0,9,0],[7,66,9,66],[0,0,1,1],[0,2,1,4],[0,66,1,67],[0,68,1,70],[2,0,2,1],[2,66,2,67]]}
["Vandområde",null,"Inderhavnen",{"$nulls":63},"Vandområde",null,"Damhusåen"]
[]
["Udlednings nr. ",null,"UØ103","UØ107","UØ113","UØ38","UØ42","UØ44","UØ52","UØ55","UØ60","UØ65","UØ66","UØ67","UØ68","UØ97",null,215825,219900,220907,"SB1","SB12","SB13",{"$nulls":43},"Udlednings nr. ",null,"UD10b","UD10d","UD11b","UD12","UD13","UD14","UD15","UD16","UD17","UD18","UD19b","UD20b","UD21","UD21b","UD24","Sum"]
["Adresse",null,"Overgaden Neden Vandet","Sofiegade","Bodenhoffs Plads","Esplanaden","Amaliehaven","Skt. Annæ Plads","Tordenskjoldsgade","Boldhusgade","Nybrogade","Thorvaldsens Museum","Holmens Bro","Slotsholmsgade","Kgl. Bibliotek","Udenrigsministeriet","Vester Voldgade","Christian IV's Bro","Oslo Pl.","Langelinie","Ved Stranden","Havnegade","Havnegade2",{"$nulls":43},"Adresse",null,"Nødoverløb Damhusåens renseanlæg","Hovedoverløb Damhus-ledning","Åhaven","Sønderkær","Vigerslev Allé","Gårdstedet","Heldbovej","Lykkebovej","Landlystvej","Skyttegårdsvej","Sandhusvej","Hvidovre station","Vigerslev-parken N for Dæmningen","Nødoverløb ved Torpedo-bygværket","Roskildevej","-"]
["Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Separat","Separat","Separat","Separat","Separat","Separat",{"$nulls":43},"Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Separat","Separat","Separat","Separat","Separat","Separat",{"$nulls":44},"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Separat","Separat","Separat","Separat","Separat","Separat",{"$nulls":44},"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
["Reduceret areal       ha","Status",4.9061219999999999,4.2846010000000003,2.5421079999999998,31.042884999999998,12.948915,47.004469999999998,52.287194,6.1342590000000001,14.959975999999999,4,1,2,7.5868679999999999,24.094398999999999,9.8359349999999992,0.63850156250000001,0.93621406250000017,0.6,1.5,8,8,{"$nulls":43},"Reduceret areal       ha","Status",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,{"$f":"SUM(BQ8:CE8)","v":390.51906299999996}]
[null,"Plan",4.9061219999999999,4.2846010000000003,2.5421079999999998,31.042884999999998,12.948915,47.004469999999998,52.287194,6.1342590000000001,14.959975999999999,4,1,2,7.5868679999999999,24.094398999999999,9.8359349999999992,0.63850156250000001,0.93621406250000017,0.6,1.5,8,8,{"$nulls":44},"Plan",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
[null,"Strategi",4.9061219999999999,4.2846010000000003,2.5421079999999998,31.042884999999998,12.948915,47.004469999999998,52.287194,6.1342590000000001,14.959975999999999,4,1,2,7.5868679999999999,24.094398999999999,9.8359349999999992,0.63850156250000001,0.93621406250000017,0.6,1.5,8,8,{"$nulls":44},"Strategi",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
["Maks udledning        l/s","Status",800,1000,500,6000,1500,4000,4000,2000,2500,250,700,500,300,1400,2500,40,60,40,750,120,120,{"$nulls":43},"Maks udledning        l/s","Status",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Plan",800,1000,500,6000,1500,4000,4000,2000,2500,250,700,500,300,1400,2500,40,60,40,750,120,120,{"$nulls":44},"Plan",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Strategi",800,1000,500,6000,1500,4000,4000,2000,2500,250,700,500,300,1400,2500,40,60,40,750,120,120,{"$nulls":44},"Strategi",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
["Overløbshyppighed antal/år","Status",1,1,2,6,1,1.5,3,13,9,6,6,10,7,1,4," "," "," "," "," "," ",{"$nulls":43},"Overløbshyppighed antal/år","Status",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Plan",1,1,2,6,1,1.5,3,13,9,6,6,10,7,1,4,0,0,0,0,0,0,{"$nulls":44},"Plan",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Strategi",0.1,0.1,0.2,3,1,0.3,2,7,4,3,1,5,4,0,2,"","","","","","",{"$nulls":44},"Strategi",1,0.1,0.05,0.01,0.01,0.01,0.01,0.01,2.5000000000000001E-2,0.03,0.01,0.01,0.02,0,10,"-"]
["Vand                         m3/år","Status",429,224,468,20750,911,8000,11380,11773,162377,565,997,20970,6300,27,12759,2262.3400343472044,3317.195569607688,2125.9212198221089,5314.803049555273,28345.616264294789,28345.616264294789,{"$nulls":43},"Vand                         m3/år","Status",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,{"$f":"SUM(BQ17:CE17)","v":30342}]
[null,"Plan",417.61401590457257,218.05487077534792,455.57892644135188,20342.30745526839,896.24333996023859,8000,11127.517793240557,11566.008648111332,159478.72296222663,555.44532803180914,974.41381709741552,20632.826242544732,6191.0767395626244,26.283399602385686,12454.046719681908,2262.3400343472044,3317.195569607688,2125.9212198221089,5314.803049555273,28345.616264294789,28345.616264294789,{"$nulls":44},"Plan",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,30342]
[null,"Strategi",42.9,22.4,46.8,6736.25,443.75,1600,2333.75,4967.5,66470,256.25,182.5,10332.5,2745,0,1586.25,2375.4570360645648,3483.0553480880726,2232.2172808132145,5580.5432020330372,29762.897077509529,29762.897077509529,{"$nulls":44},"Strategi",1704,1500,50,100,10,10,10,10,50,10,10,10,50,0,780,4304]
["COD                            kg/år","Status",21.450000000000003,11.200000000000001,23.400000000000002,1037.5,45.550000000000004,400,569,588.65,8118.85,28.25,49.85,1048.5,315,1.35,637.95000000000005,361.97440549555273,530.75129113723006,340.14739517153743,850.36848792884371,4535.2986022871664,4535.2986022871664,{"$nulls":43},"COD                            kg/år","Status",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Plan",20.880700795228631,10.902743538767396,22.778946322067597,1017.1153727634196,44.812166998011932,400,556.37588966202782,578.30043240556665,7973.9361481113319,27.772266401590457,48.720690854870782,1031.6413121272367,309.55383697813124,1.3141699801192843,622.7023359840955,361.97440549555273,530.75129113723006,340.14739517153743,850.36848792884371,4535.2986022871664,4535.2986022871664,{"$nulls":44},"Plan",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Strategi",2.145,1.1199999999999999,2.34,336.8125,22.1875,80,116.6875,248.375,3323.5,12.8125,9.125,516.625,137.25,0,79.3125,380.07312577033036,557.28885569409158,357.15476493011431,892.88691232528595,4762.0635324015248,4762.0635324015248,{"$nulls":44},"Strategi",85,75,2,5.9,0.5,0.5,0.5,0.5,2.5,0.5,0.5,0.5,2.5,0,39,215.4]
["Total N                    kg/år","Status",0.85799999999999998,0.44800000000000001,0.93600000000000005,41.5,1.8220000000000001,16,22.76,23.545999999999999,324.75400000000002,1.1300000000000001,1.994,41.94,12.6,5.3999999999999999E-2,25.518000000000001,22.623400343472046,33.171955696076878,21.259212198221089,53.148030495552732,283.4561626429479,283.4561626429479,{"$nulls":43},"Total N                    kg/år","Status",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Plan",0.83522803180914518,0.43610974155069587,0.91115785288270379,40.68461491053678,1.7924866799204773,16,22.255035586481114,23.132017296222664,318.95744592445328,1.1108906560636183,1.9488276341948312,41.265652485089461,12.382153479125249,5.2566799204771371E-2,24.908093439363817,22.623400343472046,33.171955696076878,21.259212198221089,53.148030495552732,283.4561626429479,283.4561626429479,{"$nulls":44},"Plan",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Strategi",8.5800000000000001E-2,4.48E-2,9.3600000000000003E-2,13.4725,0.88750000000000007,3.2,4.6675000000000004,9.9350000000000005,132.94,0.51249999999999996,0.36499999999999999,20.664999999999999,5.49,0,3.1724999999999999,23.754570360645648,34.830553480880724,22.322172808132144,55.805432020330372,297.6289707750953,297.6289707750953,{"$nulls":44},"Strategi",3.4,3,0.08,0.2,0.02,0.02,0.02,0.02,0.1,0.02,0.02,0.02,0.1,0,1.6,8.6199999999999974]
["Total P                                         kg/år","Status",0.2145,0.112,0.23400000000000001,10.375,0.45550000000000002,4,5.69,5.8864999999999998,81.188500000000005,0.28250000000000003,0.4985,10.484999999999999,3.15,1.35E-2,6.3795000000000002,5.6558500858680114,8.2929889240192196,5.3148030495552723,13.287007623888183,70.864040660736975,70.864040660736975,{"$nulls":43},"Total P                                         kg/år","Status",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Plan",0.20880700795228629,0.10902743538767397,0.22778946322067595,10.171153727634195,0.44812166998011932,4,5.5637588966202784,5.7830043240556659,79.73936148111332,0.27772266401590456,0.4872069085487078,10.316413121272365,3.0955383697813121,1.3141699801192843E-2,6.2270233598409543,5.6558500858680114,8.2929889240192196,5.3148030495552723,13.287007623888183,70.864040660736975,70.864040660736975,{"$nulls":44},"Plan",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Strategi",2.145E-2,1.12E-2,2.3400000000000001E-2,3.368125,0.22187500000000002,0.8,1.1668750000000001,2.4837500000000001,33.234999999999999,0.12812499999999999,9.1249999999999998E-2,5.1662499999999998,1.3725000000000001,0,0.79312499999999997,5.9386425901614119,8.7076383702201809,5.5805432020330361,13.951358005082593,74.407242693773824,74.407242693773824,{"$nulls":44},"Strategi",0.8,0.75,0.02,0.06,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,0,0.4,{"$f":"SUM(BQ28:CE28)","v":2.1149999999999993}]
["Udlednings nr. ",null,"SB15","SB16","SB17","SB18","SB2","SB3","UØ140","UØ141","UØ143","UØ144","UØ145","UØ151","UØ41","UØ43","UØ44","UØ46","UØ66.1","UØ66.2","UØX4","UØX1","Sum"]
["Adresse",null,"National-banken","Holmens Kirke","Nybrogade3","Larsens Plads","Boldhusgade4","Ny Kongensgade","Løvens Bastion","Galionsvej","Takkelloftvej","Leo Mathisensvej","Arsenalvej","Ved Langebro","Pakhuset","Amalienborg Slotsplads","Skt. Annæ Plads5","Kongens Nytorv","Børsbroen Vest","Børsbroen Øst","IB til Inderhavnen 2028","AM til Inderhavn 20XX","-"]
["Kloakeringstype","Status","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-","-","-"]
[null,"Plan","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-","-"]
[null,"Strategi","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-"]
["Reduceret areal       ha","Status",8,5,27,19,2,1,4.7928125000000002E-2,3.2,1.9,3,6.4,1,2,12,0.214,5,0.49993593749999998,1,"-","-",342.56431168750004]
[null,"Plan",8,5,27,19,2,1,4.7928125000000002E-2,3.2,1.9,3,6.4,1,2,12,0.214,5,0.49993593749999998,1,2.75,"-",345.31431168750004]
[null,"Strategi",8,5,27,19,2,1,4.7928125000000002E-2,3.2,1.9,3,6.4,1,2,12,0.214,5,0.49993593749999998,1,55,70.666666666666657,468.23097835416672]
["Maks udledning        l/s","Status",240,150,1620,1396,1200,550,0,494,290,457,997,60,250,1800,33,500,30,60,"-","-",39207]
[null,"Plan",240,150,1620,1396,1200,550,0,494,290,457,997,60,250,1800,33,500,30,60,170,"-",39377]
[null,"Strategi",240,150,1620,1396,1200,550,0,494,290,457,997,60,250,1800,33,500,30,60,3300,4240,46747]
["Overløbshyppighed antal/år","Status"," "," ",0," "," "," "," ",0," "," "," "," ",0.1,0.1,0,0.1," "," ","-","-",71.8]
[null,"Plan",0,0,0,0,0,0,0,0,0,0,0,0,0.1,0.1,0,0.1,0,0,0,"-",71.8]
[null,"Strategi","","","","","","","","","","","","",0.05,0.05,"",0.05,"","",0,0,32.85]
["Vand                         m3/år","Status",28345.616264294789,17716.010165184241,95666.454891994916,67320.838627700126,7086.4040660736973,3543.2020330368487,169.8190299396442,11338.246505717916,6732.0838627700123,10629.606099110546,22676.493011435832,3543.2020330368487,100,232,758.24523506988555,500,1771.3740301381829,3543.2020330368487,"-","-",609314.29029046209]
[null,"Plan",28345.616264294789,17716.010165184241,95666.454891994916,67320.838627700126,7086.4040660736973,3543.2020330368487,169.8190299396442,11338.246505717916,6732.0838627700123,10629.606099110546,22676.493011435832,3543.2020330368487,100,232,758.24523506988555,500,1771.3740301381829,3543.2020330368487,15000,"-",619720.43054891145]
[null,"Strategi",29762.897077509529,18601.810673443455,100449.77763659466,70686.880559085141,7440.7242693773824,3720.3621346886912,178.3099814366264,11905.158831003813,7068.688055908513,11161.086404066074,23810.317662007626,3720.3621346886912,50,116,796.15749682337992,250,1859.9427316450922,3720.3621346886912,190000,250000,906261.75480498536]
["COD                            kg/år","Status",4535.2986022871664,2834.5616264294786,15306.632782719187,10771.334180432021,1133.8246505717916,566.9123252858958,27.171044790343071,1814.1194409148666,1077.133418043202,1700.7369758576874,3628.2388818297331,566.9123252858958,16,37.119999999999997,121.31923761118169,80,283.41984482210927,566.9123252858958,"-","-",69117.986446473966]
[null,"Plan",4535.2986022871664,2834.5616264294786,15306.632782719187,10771.334180432021,1133.8246505717916,566.9123252858958,27.171044790343071,1814.1194409148666,1077.133418043202,1700.7369758576874,3628.2388818297331,566.9123252858958,16,37.119999999999997,121.31923761118169,80,283.41984482210927,566.9123252858958,2400,"-",71288.293459396431]
[null,"Strategi",4762.0635324015248,2976.2897077509529,16071.964421855146,11309.900889453622,1190.5158831003812,595.25794155019059,28.529597029860224,1904.8254129606103,1130.990088945362,1785.7738246505719,3809.6508259212205,595.25794155019059,8,18.559999999999999,127.38519949174079,40,297.59083706321474,595.25794155019059,30400,40000,134247.63726879764]
["Total N                    kg/år","Status",283.4561626429479,177.16010165184241,956.6645489199492,673.2083862770013,70.864040660736975,35.432020330368488,1.6981902993964419,113.38246505717916,67.320838627700127,106.29606099110546,226.76493011435832,35.432020330368488,1,2.3199999999999998,7.5824523506988557,5,17.713740301381829,35.432020330368488,"-","-",4029.702902904623]
[null,"Plan",283.4561626429479,177.16010165184241,956.6645489199492,673.2083862770013,70.864040660736975,35.432020330368488,1.6981902993964419,113.38246505717916,67.320838627700127,106.29606099110546,226.76493011435832,35.432020330368488,1,2.3199999999999998,7.5824523506988557,5,17.713740301381829,35.432020330368488,150,"-",4170.5151834215212]
[null,"Strategi",297.6289707750953,186.01810673443455,1004.4977763659466,706.86880559085137,74.407242693773824,37.203621346886912,1.783099814366264,119.05158831003814,70.686880559085125,111.61086404066074,238.10317662007628,37.203621346886912,0.5,1.1599999999999999,7.9615749682337995,2.5,18.599427316450921,37.203621346886912,1900,2500,8280.4907480498532]
["Total P                                         kg/år","Status",70.864040660736975,44.290025412960603,239.1661372299873,168.30209656925032,17.716010165184244,8.8580050825921219,0.42454757484911049,28.34561626429479,16.830209656925032,26.574015247776366,56.69123252858958,8.8580050825921219,0.25,0.57999999999999996,1.8956130876747139,1.25,4.4284350753454573,8.8580050825921219,"-","-",1007.4257257261557]
[null,"Plan",70.864040660736975,44.290025412960603,239.1661372299873,168.30209656925032,17.716010165184244,8.8580050825921219,0.42454757484911049,28.34561626429479,16.830209656925032,26.574015247776366,56.69123252858958,8.8580050825921219,0.25,0.57999999999999996,1.8956130876747139,1.25,4.4284350753454573,8.8580050825921219,37.5,"-",1042.6287958553803]
[null,"Strategi",74.407242693773824,46.504526683608638,251.12444409148665,176.71720139771284,18.601810673443456,9.300905336721728,0.44577495359156599,29.762897077509535,17.671720139771281,27.902716010165186,59.525794155019071,9.300905336721728,0.125,0.28999999999999998,1.9903937420584499,0.625,4.6498568291127302,9.300905336721728,475,625,2070.1226870124633]