{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Kagsåen"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Kagsåen","index":0,"n_rows":28,"n_cols":66,"rows_kept":28,"cut":false,"hidden":false,"merged":[[19,0,21,0],[19,48,21,48],[22,0,24,0],[22,48,24,48],[25,0,27,0],[25,48,27,48],[10,0,12,0],[10,48,12,48],[13,0,15,0],[13,48,15,48],[16,0,18,0],[16,48,18,48],[3,0,3,1],[3,48,3,49],[4,0,6,0],[4,48,6,48],[7,0,9,0],[7,48,9,48],[0,0,1,1],[0,2,1,3],[0,48,1,49],[0,50,1,52],[2,0,2,1],[2,48,2,49]]}
["Vandområde",null,"Kagsåen",{"$nulls":45},"Vandområde",null,"Damhusåen"]
[]
["Udlednings nr. ",null,"UKa11","UKa12",{"$nulls":44},"Udlednings nr. ",null,"UD10b","UD10d","UD11b","UD12","UD13","UD14","UD15","UD16","UD17","UD18","UD19b","UD20b","UD21","UD21b","UD24","Sum"]
["Adresse",null,"Åfløjen N","Åfløjen S","SUM",{"$nulls":43},"Adresse",null,"Nødoverløb Damhusåens renseanlæg","Hovedoverløb Damhus-ledning","Åhaven","Sønderkær","Vigerslev Allé","Gårdstedet","Heldbovej","Lykkebovej","Landlystvej","Skyttegårdsvej","Sandhusvej","Hvidovre station","Vigerslev-parken N for Dæmningen","Nødoverløb ved Torpedo-bygværket","Roskildevej","-"]
["Kloakeringstype","Status","Fælles","Fælles","-",{"$nulls":43},"Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Plan","Fælles","Fælles","-",{"$nulls":44},"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Strategi","Fælles","Fælles","-",{"$nulls":44},"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
["Reduceret areal       ha","Status",0.67153300000000005,1.138083,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":1.8096160000000001},{"$nulls":43},"Reduceret areal       ha","Status",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,{"$f":"SUM(AY8:BM8)","v":390.51906299999996}]
[null,"Plan",0.67153300000000005,1.138083,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":1.8096160000000001},{"$nulls":44},"Plan",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
[null,"Strategi",0.67153300000000005,1.138083,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":1.8096160000000001},{"$nulls":44},"Strategi",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
["Maks udledning        l/s","Status",700,100,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":800},{"$nulls":43},"Maks udledning        l/s","Status",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Plan",700,100,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":800},{"$nulls":44},"Plan",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Strategi",700,100,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":800},{"$nulls":44},"Strategi",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
["Overløbshyppighed antal/år","Status",0.1,0.1,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":0.2},{"$nulls":43},"Overløbshyppighed antal/år","Status",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Plan",0.1,0.1,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":0.2},{"$nulls":44},"Plan",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Strategi",0.05,0.05,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":0.1},{"$nulls":44},"Strategi",1,0.1,0.05,0.01,0.01,0.01,0.01,0.01,2.5000000000000001E-2,0.03,0.01,0.01,0.02,0,10,"-"]
["Vand                         m3/år","Status",50,50,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":100},{"$nulls":43},"Vand                         m3/år","Status",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,{"$f":"SUM(AY17:BM17)","v":30342}]
[null,"Plan",50,50,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":100},{"$nulls":44},"Plan",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,30342]
[null,"Strategi",25,25,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":50},{"$nulls":44},"Strategi",1704,1500,50,100,10,10,10,10,50,10,10,10,50,0,780,4304]
["COD                            kg/år","Status",2.5,2.5,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":5},{"$nulls":43},"COD                            kg/år","Status",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Plan",2.5,2.5,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":5},{"$nulls":44},"Plan",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Strategi",1.25,1.25,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":2.5},{"$nulls":44},"Strategi",85,75,2,5.9,0.5,0.5,0.5,0.5,2.5,0.5,0.5,0.5,2.5,0,39,215.4]
["Total N                    kg/år","Status",0.1,0.1,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":0.2},{"$nulls":43},"Total N                    kg/år","Status",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Plan",0.1,0.1,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":0.2},{"$nulls":44},"Plan",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Strategi",0.05,0.05,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":0.1},{"$nulls":44},"Strategi",3.4,3,0.08,0.2,0.02,0.02,0.02,0.02,0.1,0.02,0.02,0.02,0.1,0,1.6,8.6199999999999974]
["Total P                                         kg/år","Status",2.5000000000000001E-2,2.5000000000000001E-2,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":0.05},{"$nulls":43},"Total P                                         kg/år","Status",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Plan",2.5000000000000001E-2,2.5000000000000001E-2,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":0.05},{"$nulls":44},"Plan",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Strategi",1.2500000000000001E-2,1.2500000000000001E-2,{"$f":"SUM(Tabel120[[#This Row],[Åfløjen N]:[Åfløjen S]])","v":2.5000000000000001E-2},{"$nulls":44},"Strategi",0.8,0.75,0.02,0.06,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,0,0.4,{"$f":"SUM(AY28:BM28)","v":2.1149999999999993}]