{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Kalvebod Fælled"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Kalvebod Fælled","index":0,"n_rows":28,"n_cols":74,"rows_kept":28,"cut":false,"hidden":false,"merged":[[19,0,21,0],[19,56,21,56],[22,0,24,0],[22,56,24,56],[25,0,27,0],[25,56,27,56],[10,0,12,0],[10,56,12,56],[13,0,15,0],[13,56,15,56],[16,0,18,0],[16,56,18,56],[3,0,3,1],[3,56,3,57],[4,0,6,0],[4,56,6,56],[7,0,9,0],[7,56,9,56],[0,0,1,1],[0,2,1,4],[0,56,1,57],[0,58,1,60],[2,0,2,1],[2,56,2,57]]}
["Vandområde",null,"Kalvebod Fælled",{"$nulls":53},"Vandområde",null,"Damhusåen"]
[]
["Udlednings nr. ",null,"UN13","VA-U05","VA-U19","VA-U20","VA-U21","VA-U22","ØC-U05","ØC-U11","ØC-U11.1","ØC-U31","ØS-U01","ØS-U11",{"$nulls":42},"Udlednings nr. ",null,"UD10b","UD10d","UD11b","UD12","UD13","UD14","UD15","UD16","UD17","UD18","UD19b","UD20b","UD21","UD21b","UD24","Sum"]
["Adresse",null,"-","Ørestads Boulevard","Ejler Billes Allé","Asger Jorns Allé","Else Alfelts Vej","Else Alfelts Vej2","Center Boulevard","Center Boulevard3","Center Boulevard4","Center Boulevard5","CMC-vej/ Metrovej","Hannemanns Allé","SUM",{"$nulls":41},"Adresse",null,"Nødoverløb Damhusåens renseanlæg","Hovedoverløb Damhus-ledning","Åhaven","Sønderkær","Vigerslev Allé","Gårdstedet","Heldbovej","Lykkebovej","Landlystvej","Skyttegårdsvej","Sandhusvej","Hvidovre station","Vigerslev-parken N for Dæmningen","Nødoverløb ved Torpedo-bygværket","Roskildevej","-"]
["Kloakeringstype","Status","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-",{"$nulls":41},"Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Plan","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-",{"$nulls":42},"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Strategi","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-",{"$nulls":42},"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
["Reduceret areal       ha","Status",9.8000000000000007,14,0.91,0.91,0.91,0.91,4.5999999999999996,3.1,7.6,0.93,1,4.4000000000000004,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":49.07},{"$nulls":41},"Reduceret areal       ha","Status",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,{"$f":"SUM(BG8:BU8)","v":390.51906299999996}]
[null,"Plan",9.8000000000000007,14,0.91,0.91,0.91,0.91,4.5999999999999996,3.1,7.6,0.93,1,4.4000000000000004,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":49.07},{"$nulls":42},"Plan",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
[null,"Strategi",9.8000000000000007,14,0.91,0.91,0.91,0.91,4.5999999999999996,3.1,7.6,0.93,1,4.4000000000000004,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":49.07},{"$nulls":42},"Strategi",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
["Maks udledning        l/s","Status",490,60,240,430,200,130,650,950,2100,175,60,240,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":5725},{"$nulls":41},"Maks udledning        l/s","Status",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Plan",490,60,150,430,200,250,650,950,2100,175,60,240,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":5755},{"$nulls":42},"Plan",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Strategi",490,60,150,430,200,250,650,950,2100,175,60,240,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":5755},{"$nulls":42},"Strategi",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
["Overløbshyppighed antal/år","Status",0," ",4,4,4,4,3," ","2-9"," ",0,0,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":19},{"$nulls":41},"Overløbshyppighed antal/år","Status",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Plan",0,0,4,4,4,4,0,0,0,0,0,0,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":16},{"$nulls":42},"Plan",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Strategi","","",4,4,4,4,"","","","","","",{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":16},{"$nulls":42},"Strategi",1,0.1,0.05,0.01,0.01,0.01,0.01,0.01,2.5000000000000001E-2,0.03,0.01,0.01,0.02,0,10,"-"]
["Vand                         m3/år","Status",34714.814814814818,49592.592592592591,500,1100,350,250,700,10981.216931216932,26921.693121693123,3218.7662337662337,3542.3280423280421,15586.243386243386,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":147457.65512265512},{"$nulls":41},"Vand                         m3/år","Status",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,{"$f":"SUM(BG17:BU17)","v":30342}]
[null,"Plan",34714.814814814818,49592.592592592591,500,1100,350,250,15920.779220779219,10981.216931216932,26921.693121693123,3218.7662337662337,3542.3280423280421,15586.243386243386,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":162678.43434343435},{"$nulls":42},"Plan",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,30342]
[null,"Strategi",36450.555555555562,52072.222222222226,525,1155,367.5,262.5,16716.81818181818,11530.277777777779,28267.777777777781,3379.7045454545455,3719.4444444444443,16365.555555555557,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":170812.35606060608},{"$nulls":42},"Strategi",1704,1500,50,100,10,10,10,10,50,10,10,10,50,0,780,4304]
["COD                            kg/år","Status",5554.3703703703713,7934.8148148148148,80,176,56,40,112,1756.9947089947091,4307.4708994708999,515.00259740259742,566.77248677248679,2493.798941798942,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":23593.224819624818},{"$nulls":41},"COD                            kg/år","Status",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Plan",5554.3703703703713,7934.8148148148148,80,176,56,40,2547.3246753246749,1756.9947089947091,4307.4708994708999,515.00259740259742,566.77248677248679,2493.798941798942,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":26028.549494949493},{"$nulls":42},"Plan",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Strategi",5832.0888888888903,8331.5555555555566,84,184.8,58.800000000000004,42,2674.6909090909089,1844.8444444444447,4522.8444444444449,540.75272727272727,595.11111111111109,2618.4888888888891,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":27329.976969696971},{"$nulls":42},"Strategi",85,75,2,5.9,0.5,0.5,0.5,0.5,2.5,0.5,0.5,0.5,2.5,0,39,215.4]
["Total N                    kg/år","Status",347.14814814814821,495.92592592592592,5,11,3.5,2.5,7,109.81216931216932,269.21693121693124,32.187662337662339,35.423280423280424,155.86243386243387,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":1474.5765512265511},{"$nulls":41},"Total N                    kg/år","Status",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Plan",347.14814814814821,495.92592592592592,5,11,3.5,2.5,159.20779220779218,109.81216931216932,269.21693121693124,32.187662337662339,35.423280423280424,155.86243386243387,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":1626.7843434343433},{"$nulls":42},"Plan",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Strategi",364.50555555555565,520.72222222222229,5.25,11.55,3.6750000000000003,2.625,167.16818181818181,115.30277777777779,282.67777777777781,33.797045454545454,37.194444444444443,163.65555555555557,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":1708.1235606060607},{"$nulls":42},"Strategi",3.4,3,0.08,0.2,0.02,0.02,0.02,0.02,0.1,0.02,0.02,0.02,0.1,0,1.6,8.6199999999999974]
["Total P                                         kg/år","Status",86.787037037037052,123.98148148148148,1.25,2.75,0.875,0.625,1.75,27.453042328042329,67.304232804232811,8.0469155844155846,8.855820105820106,38.965608465608469,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":368.64413780663779},{"$nulls":41},"Total P                                         kg/år","Status",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Plan",86.787037037037052,123.98148148148148,1.25,2.75,0.875,0.625,39.801948051948045,27.453042328042329,67.304232804232811,8.0469155844155846,8.855820105820106,38.965608465608469,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":406.69608585858583},{"$nulls":42},"Plan",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Strategi",91.126388888888911,130.18055555555557,1.3125,2.8875000000000002,0.91875000000000007,0.65625,41.792045454545452,28.825694444444448,70.669444444444451,8.4492613636363636,9.2986111111111107,40.913888888888891,{"$f":"SUM(Tabel16[[#This Row],[-]:[Hannemanns Allé]])","v":427.03089015151517},{"$nulls":42},"Strategi",0.8,0.75,0.02,0.06,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,0,0.4,{"$f":"SUM(BG28:BU28)","v":2.1149999999999993}]