{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Nordhavnen"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Nordhavnen","index":0,"n_rows":28,"n_cols":77,"rows_kept":28,"cut":false,"hidden":false,"merged":[[19,0,21,0],[19,59,21,59],[22,0,24,0],[22,59,24,59],[25,0,27,0],[25,59,27,59],[10,0,12,0],[10,59,12,59],[13,0,15,0],[13,59,15,59],[16,0,18,0],[16,59,18,59],[3,0,3,1],[3,59,3,60],[4,0,6,0],[4,59,6,59],[7,0,9,0],[7,59,9,59],[0,0,1,1],[0,2,1,4],[0,59,1,60],[0,61,1,63],[2,0,2,1],[2,59,2,60]]}
["Vandområde",null,"Nordhavnen",{"$nulls":56},"Vandområde",null,"Damhusåen"]
[]
["Udlednings nr. ",null,"UØ32","UØ37",1000028529,1000037357,1000044032,"UØ31","UØ32.3","UØ36","UØ36.1","UØ36.2","UØ36.3","UØX4","UØX10",{"$nulls":44},"Udlednings nr. ",null,"UD10b","UD10d","UD11b","UD12","UD13","UD14","UD15","UD16","UD17","UD18","UD19b","UD20b","UD21","UD21b","UD24","Sum"]
["Adresse",null,"Colosseum","Amerikakaj","Marmorvej","Gittervej","Sundkaj","Tømmerkaj","Banekaj","Pakhusvej","Langelinie S","Langelinie C","Langelinie N","OS til Nordhavnen  2028","OS til Nordhavnen  20XX","SUM",{"$nulls":43},"Adresse",null,"Nødoverløb Damhusåens renseanlæg","Hovedoverløb Damhus-ledning","Åhaven","Sønderkær","Vigerslev Allé","Gårdstedet","Heldbovej","Lykkebovej","Landlystvej","Skyttegårdsvej","Sandhusvej","Hvidovre station","Vigerslev-parken N for Dæmningen","Nødoverløb ved Torpedo-bygværket","Roskildevej","-"]
["Kloakeringstype","Status","Fælles","Fælles","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-","-","-",{"$nulls":43},"Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Plan","Fælles","Fælles","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-","-",{"$nulls":44},"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Strategi","Fælles","Fælles","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-",{"$nulls":44},"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
["Reduceret areal       ha","Status",242.15642700000001,18.750737999999998,1,1,1,1,53.61,1,1.44,0,1.95,"-","-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":322.90716500000002},{"$nulls":43},"Reduceret areal       ha","Status",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,{"$f":"SUM(BJ8:BX8)","v":390.51906299999996}]
[null,"Plan",242.15642700000001,18.750737999999998,1,1,1,1,53.61,1,1.44,0,1.95,14.760000000000002,"-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":337.66716500000001},{"$nulls":44},"Plan",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
[null,"Strategi",242.15642700000001,18.750737999999998,1,1,1,1,53.61,1,1.44,0,1.95,37.800000000000004,73.8,{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":434.50716500000004},{"$nulls":44},"Strategi",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
["Maks udledning        l/s","Status",21000,1000,60,60,60,60,871.56,60,233.28,"Nødoverløb",315.89999999999998,"-","-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":23720.74},{"$nulls":43},"Maks udledning        l/s","Status",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Plan",21000,1000,60,60,60,60,871.56,60,233.28,"Nødoverløb",315.89999999999998,890,"-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":24610.74},{"$nulls":44},"Plan",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Strategi",21000,1000,60,60,60,60,871.56,60,233.28,"Nødoverløb",315.89999999999998,2270,4430,{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":30420.74},{"$nulls":44},"Strategi",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
["Overløbshyppighed antal/år","Status",3,8," "," "," "," "," "," "," "," "," ","-","-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":11},{"$nulls":43},"Overløbshyppighed antal/år","Status",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Plan",3,7,0,0,0,0,0,0,0," ",0,0,"-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":10},{"$nulls":44},"Plan",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Strategi",1,4,"","","","","","","","","",0,0,{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":5},{"$nulls":44},"Strategi",1,0.1,0.05,0.01,0.01,0.01,0.01,0.01,2.5000000000000001E-2,0.03,0.01,0.01,0.02,0,10,"-"]
["Vand                         m3/år","Status",135123,17405,3556.6037735849054,3556.6037735849054,3402.4926686217009,3556.6037735849054,194931.40138408306,3543.2020330368487,5102.2109275730618,0,6909.2439644218548,"-","-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":377086.36229849124},{"$nulls":43},"Vand                         m3/år","Status",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,{"$f":"SUM(BJ17:BX17)","v":30342}]
[null,"Plan",116715.65794392524,15721.351401869159,3556.6037735849054,3556.6037735849054,3402.4926686217009,3556.6037735849054,194931.40138408306,3543.2020330368487,5102.2109275730618,0,6909.2439644218548,81000,"-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":437995.37164428568},{"$nulls":44},"Plan",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,30342]
[null,"Strategi",6931.25,6962,3734.433962264151,3734.433962264151,3572.6173020527863,3734.433962264151,204677.97145328723,3720.3621346886912,5357.3214739517152,0,7254.7061626429477,130000,260000,{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":639679.53041341575},{"$nulls":44},"Strategi",1704,1500,50,100,10,10,10,10,50,10,10,10,50,0,780,4304]
["COD                            kg/år","Status",6756.1500000000005,870.25,569.05660377358492,569.05660377358492,544.39882697947212,569.05660377358492,31189.024221453292,566.9123252858958,816.35374841168993,0,1105.4790343074967,"-","-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":43555.737967758607},{"$nulls":43},"COD                            kg/år","Status",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Plan",5835.7828971962626,786.06757009345802,569.05660377358492,569.05660377358492,544.39882697947212,569.05660377358492,31189.024221453292,566.9123252858958,816.35374841168993,0,1105.4790343074967,12960,"-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":55511.188435048331},{"$nulls":44},"Plan",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Strategi",346.5625,347.0625,597.50943396226421,597.50943396226421,571.61876832844587,597.50943396226421,32748.475432525956,595.25794155019059,857.17143583227448,0,1160.7529860228717,20800,41600,{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":100819.42986614653},{"$nulls":44},"Strategi",85,75,2,5.9,0.5,0.5,0.5,0.5,2.5,0.5,0.5,0.5,2.5,0,39,215.4]
["Total N                    kg/år","Status",270.24599999999998,34.81,35.566037735849058,35.566037735849058,34.024926686217007,35.566037735849058,1949.3140138408307,35.432020330368488,51.022109275730621,0,69.092439644218544,"-","-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":2550.6396229849129},{"$nulls":43},"Total N                    kg/år","Status",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Plan",233.43131588785047,31.442702803738317,35.566037735849058,35.566037735849058,34.024926686217007,35.566037735849058,1949.3140138408307,35.432020330368488,51.022109275730621,0,69.092439644218544,810,"-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":3320.4576416765017},{"$nulls":44},"Plan",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Strategi",13.862500000000001,13.8825,37.344339622641513,37.344339622641513,35.726173020527867,37.344339622641513,2046.7797145328723,37.203621346886912,53.573214739517155,0,72.547061626429482,1300,2600,{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":6285.6078041341589},{"$nulls":44},"Strategi",3.4,3,0.08,0.2,0.02,0.02,0.02,0.02,0.1,0.02,0.02,0.02,0.1,0,1.6,8.6199999999999974]
["Total P                                         kg/år","Status",67.561499999999995,8.7025000000000006,8.8915094339622645,8.8915094339622645,8.5062316715542519,8.8915094339622645,487.32850346020768,8.8580050825921219,12.755527318932655,0,17.273109911054636,"-","-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":637.65990574622822},{"$nulls":43},"Total P                                         kg/år","Status",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Plan",58.357828971962618,7.8606757009345793,8.8915094339622645,8.8915094339622645,8.5062316715542519,8.8915094339622645,487.32850346020768,8.8580050825921219,12.755527318932655,0,17.273109911054636,202.5,"-",{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":830.11441041912542},{"$nulls":44},"Plan",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Strategi",3.4656250000000002,3.4706250000000001,9.3360849056603783,9.3360849056603783,8.9315432551319667,9.3360849056603783,511.69492863321807,9.300905336721728,13.393303684879289,0,18.13676540660737,325,650,{"$f":"SUM(Tabel114[[#This Row],[Colosseum]:[OS til Nordhavnen  20XX]])","v":1571.4019510335397},{"$nulls":44},"Strategi",0.8,0.75,0.02,0.06,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,0,0.4,{"$f":"SUM(BJ28:BX28)","v":2.1149999999999993}]