{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Nordre Landkanal"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Nordre Landkanal","index":0,"n_rows":28,"n_cols":74,"rows_kept":28,"cut":false,"hidden":false,"merged":[[0,0,1,1],[0,2,1,4],[0,56,1,57],[0,58,1,60],[2,0,2,1],[2,56,2,57],[3,0,3,1],[3,56,3,57],[4,0,6,0],[4,56,6,56],[7,0,9,0],[7,56,9,56],[10,0,12,0],[10,56,12,56],[13,0,15,0],[13,56,15,56],[16,0,18,0],[16,56,18,56],[19,0,21,0],[19,56,21,56],[22,0,24,0],[22,56,24,56],[25,0,27,0],[25,56,27,56]]}
["Vandområde",null,"Nordre Landkanal",{"$nulls":53},"Vandområde",null,"Damhusåen"]
[]
["Udlednings nr. ",null,"UN10","BC-U47","UN15","VA-U23","ØC-U02","ØC-U03","ØC-U06","ØC-U34","ØS-U03","ØS-U12",{"$nulls":44},"Udlednings nr. ",null,"UD10b","UD10d","UD11b","UD12","UD13","UD14","UD15","UD16","UD17","UD18","UD19b","UD20b","UD21","UD21b","UD24","Sum"]
["Adresse",null,"Digevejs-grøften","Ørestads Boulevard","Slusevej","Ørestads Boulevard2","Kay Fiskers Vej","CMC-vej","Kay Fiskers Vej3","Ørestads Boulevard4","Hannemanns Allé","Hannemanns Allé5","SUM",{"$nulls":43},"Adresse",null,"Nødoverløb Damhusåens renseanlæg","Hovedoverløb Damhus-ledning","Åhaven","Sønderkær","Vigerslev Allé","Gårdstedet","Heldbovej","Lykkebovej","Landlystvej","Skyttegårdsvej","Sandhusvej","Hvidovre station","Vigerslev-parken N for Dæmningen","Nødoverløb ved Torpedo-bygværket","Roskildevej","-"]
["Kloakeringstype","Status","Fælles","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-",{"$nulls":43},"Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Plan","Fælles","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-",{"$nulls":44},"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Strategi","Fælles","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","Separat","-",{"$nulls":44},"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
["Reduceret areal       ha","Status",119.75615999999999,0.2,0.5,2,0.60199999999999998,2.1,0.74,1.2,1,4.4000000000000004,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":132.49816000000001},{"$nulls":43},"Reduceret areal       ha","Status",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,{"$f":"SUM(BG8:BU8)","v":390.51906299999996}]
[null,"Plan",119.75615999999999,0.2,0.5,2,0.60199999999999998,2.1,0.74,1.2,1,4.4000000000000004,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":132.49816000000001},{"$nulls":44},"Plan",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
[null,"Strategi",119.75615999999999,0.2,0.5,2,0.60199999999999998,2.1,0.74,1.2,1,4.4000000000000004,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":132.49816000000001},{"$nulls":44},"Strategi",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
["Maks udledning        l/s","Status",6000,40,81,220,114,100,140,185,162,185,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":7227},{"$nulls":43},"Maks udledning        l/s","Status",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Plan",6000,40,81,220,114,100,140,185,162,185,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":7227},{"$nulls":44},"Plan",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Strategi",6000,40,81,220,114,100,140,185,162,185,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":7227},{"$nulls":44},"Strategi",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
["Overløbshyppighed antal/år","Status",1,0," ",55," ",0," ",0," "," ",{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":56},{"$nulls":43},"Overløbshyppighed antal/år","Status",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Plan",1,0,0,55,0,0,0,0,0,0,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":56},{"$nulls":44},"Plan",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Strategi",0.1,"","",55,"","","","","","",{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":55.1},{"$nulls":44},"Strategi",1,0.1,0.05,0.01,0.01,0.01,0.01,0.01,2.5000000000000001E-2,0.03,0.01,0.01,0.02,0,10,"-"]
["Vand                         m3/år","Status",4820,692.20779220779218,1771.1640211640211,7084.6560846560842,2132.4814814814813,7268.181818181818,2621.3227513227512,4153.2467532467526,3542.3280423280421,15586.243386243386,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":49671.832130832132},{"$nulls":43},"Vand                         m3/år","Status",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,{"$f":"SUM(BG17:BU17)","v":30342}]
[null,"Plan",4820,692.20779220779218,1771.1640211640211,7084.6560846560842,2132.4814814814813,7268.181818181818,2621.3227513227512,4153.2467532467526,3542.3280423280421,15586.243386243386,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":49671.832130832132},{"$nulls":44},"Plan",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,30342]
[null,"Strategi",482,726.81818181818187,1859.7222222222222,7438.8888888888887,2239.1055555555554,7631.590909090909,2752.3888888888887,4360.9090909090901,3719.4444444444443,16365.555555555557,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":47576.423737373734},{"$nulls":44},"Strategi",1704,1500,50,100,10,10,10,10,50,10,10,10,50,0,780,4304]
["COD                            kg/år","Status",241,110.75324675324676,283.38624338624339,1133.5449735449736,341.19703703703703,1162.909090909091,419.41164021164019,664.51948051948045,566.77248677248679,2493.798941798942,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":7417.2931409331404},{"$nulls":43},"COD                            kg/år","Status",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Plan",241,110.75324675324676,283.38624338624339,1133.5449735449736,341.19703703703703,1162.909090909091,419.41164021164019,664.51948051948045,566.77248677248679,2493.798941798942,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":7417.2931409331404},{"$nulls":44},"Plan",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Strategi",24.1,116.2909090909091,297.55555555555554,1190.2222222222222,358.25688888888885,1221.0545454545454,440.3822222222222,697.74545454545444,595.11111111111109,2618.4888888888891,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":7559.2077979797978},{"$nulls":44},"Strategi",85,75,2,5.9,0.5,0.5,0.5,0.5,2.5,0.5,0.5,0.5,2.5,0,39,215.4]
["Total N                    kg/år","Status",9.64,6.9220779220779223,17.711640211640212,70.846560846560848,21.324814814814815,72.681818181818187,26.213227513227512,41.532467532467528,35.423280423280424,155.86243386243387,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":458.15832130832126},{"$nulls":43},"Total N                    kg/år","Status",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Plan",9.64,6.9220779220779223,17.711640211640212,70.846560846560848,21.324814814814815,72.681818181818187,26.213227513227512,41.532467532467528,35.423280423280424,155.86243386243387,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":458.15832130832126},{"$nulls":44},"Plan",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Strategi",0.96399999999999997,7.2681818181818185,18.597222222222221,74.388888888888886,22.391055555555553,76.315909090909088,27.523888888888887,43.609090909090902,37.194444444444443,163.65555555555557,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":471.90823737373739},{"$nulls":44},"Strategi",3.4,3,0.08,0.2,0.02,0.02,0.02,0.02,0.1,0.02,0.02,0.02,0.1,0,1.6,8.6199999999999974]
["Total P                                         kg/år","Status",2.41,1.7305194805194806,4.427910052910053,17.711640211640212,5.3312037037037037,18.170454545454547,6.553306878306878,10.383116883116882,8.855820105820106,38.965608465608469,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":114.53958032708032},{"$nulls":43},"Total P                                         kg/år","Status",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Plan",2.41,1.7305194805194806,4.427910052910053,17.711640211640212,5.3312037037037037,18.170454545454547,6.553306878306878,10.383116883116882,8.855820105820106,38.965608465608469,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":114.53958032708032},{"$nulls":44},"Plan",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Strategi",0.24099999999999999,1.8170454545454546,4.6493055555555554,18.597222222222221,5.5977638888888883,19.078977272727272,6.8809722222222218,10.902272727272726,9.2986111111111107,40.913888888888891,{"$f":"SUM(Tabel17[[#This Row],[Digevejs-grøften]:[Hannemanns Allé5]])","v":117.97705934343435},{"$nulls":44},"Strategi",0.8,0.75,0.02,0.06,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,0,0.4,{"$f":"SUM(BG28:BU28)","v":2.1149999999999993}]