{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Søborghus Rende"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Søborghus Rende","index":0,"n_rows":28,"n_cols":67,"rows_kept":28,"cut":false,"hidden":false,"merged":[[19,0,21,0],[19,49,21,49],[22,0,24,0],[22,49,24,49],[25,0,27,0],[25,49,27,49],[10,0,12,0],[10,49,12,49],[13,0,15,0],[13,49,15,49],[16,0,18,0],[16,49,18,49],[3,0,3,1],[3,49,3,50],[4,0,6,0],[4,49,6,49],[7,0,9,0],[7,49,9,49],[0,0,1,1],[0,2,1,4],[0,49,1,50],[0,51,1,53],[2,0,2,1],[2,49,2,50]]}
["Vandområde",null,"Søborghus Rende",{"$nulls":46},"Vandområde",null,"Damhusåen"]
[]
["Udlednings nr. ",null,"USø11","USø12","USø13",{"$nulls":44},"Udlednings nr. ",null,"UD10b","UD10d","UD11b","UD12","UD13","UD14","UD15","UD16","UD17","UD18","UD19b","UD20b","UD21","UD21b","UD24","Sum"]
["Adresse",null,"Lundebakken","Lundedalsvej/Nøkkerosevej","Rødkløvervej","SUM",{"$nulls":43},"Adresse",null,"Nødoverløb Damhusåens renseanlæg","Hovedoverløb Damhus-ledning","Åhaven","Sønderkær","Vigerslev Allé","Gårdstedet","Heldbovej","Lykkebovej","Landlystvej","Skyttegårdsvej","Sandhusvej","Hvidovre station","Vigerslev-parken N for Dæmningen","Nødoverløb ved Torpedo-bygværket","Roskildevej","-"]
["Kloakeringstype","Status","Fælles","Fælles","Fælles","-",{"$nulls":43},"Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Plan","Fælles","Fælles","Fælles","-",{"$nulls":44},"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Strategi","Fælles","Fælles","Fælles","-",{"$nulls":44},"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
["Reduceret areal       ha","Status",7.8895099999999996,5.6766579999999998,9.1448330000000002,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":22.711001},{"$nulls":43},"Reduceret areal       ha","Status",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,{"$f":"SUM(AZ8:BN8)","v":390.51906299999996}]
[null,"Plan",7.8895099999999996,5.6766579999999998,9.1448330000000002,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":22.711001},{"$nulls":44},"Plan",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
[null,"Strategi",7.8895099999999996,5.6766579999999998,9.1448330000000002,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":22.711001},{"$nulls":44},"Strategi",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
["Maks udledning        l/s","Status",470,340,550,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":1360},{"$nulls":43},"Maks udledning        l/s","Status",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Plan",470,340,550,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":1360},{"$nulls":44},"Plan",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Strategi",470,340,550,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":1360},{"$nulls":44},"Strategi",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
["Overløbshyppighed antal/år","Status",1,1,5,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":7},{"$nulls":43},"Overløbshyppighed antal/år","Status",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Plan",1,1,4,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":6},{"$nulls":44},"Plan",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Strategi",0,0,2.4,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":2.4},{"$nulls":44},"Strategi",1,0.1,0.05,0.01,0.01,0.01,0.01,0.01,2.5000000000000001E-2,0.03,0.01,0.01,0.02,0,10,"-"]
["Vand                         m3/år","Status",117,350,3000,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":3467},{"$nulls":43},"Vand                         m3/år","Status",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,{"$f":"SUM(AZ17:BN17)","v":30342}]
[null,"Plan",117,350,2400,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":2867},{"$nulls":44},"Plan",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,30342]
[null,"Strategi",0,0,600,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":600},{"$nulls":44},"Strategi",1704,1500,50,100,10,10,10,10,50,10,10,10,50,0,780,4304]
["COD                            kg/år","Status",5.8500000000000005,17.5,150,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":173.35},{"$nulls":43},"COD                            kg/år","Status",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Plan",5.8500000000000005,17.5,120,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":143.35},{"$nulls":44},"Plan",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Strategi",0,0,30,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":30},{"$nulls":44},"Strategi",85,75,2,5.9,0.5,0.5,0.5,0.5,2.5,0.5,0.5,0.5,2.5,0,39,215.4]
["Total N                    kg/år","Status",0.23400000000000001,0.70000000000000007,6,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":6.9340000000000002},{"$nulls":43},"Total N                    kg/år","Status",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Plan",0.23400000000000001,0.70000000000000007,4.8000000000000007,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":5.7340000000000009},{"$nulls":44},"Plan",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Strategi",0,0,1.2000000000000002,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":1.2000000000000002},{"$nulls":44},"Strategi",3.4,3,0.08,0.2,0.02,0.02,0.02,0.02,0.1,0.02,0.02,0.02,0.1,0,1.6,8.6199999999999974]
["Total P                                         kg/år","Status",5.8500000000000003E-2,0.17500000000000002,1.5,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":1.7335},{"$nulls":43},"Total P                                         kg/år","Status",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Plan",5.8500000000000003E-2,0.17500000000000002,1.2000000000000002,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":1.4335000000000002},{"$nulls":44},"Plan",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Strategi",0,0,0.30000000000000004,{"$f":"SUM(Tabel18[[#This Row],[Lundebakken]:[Rødkløvervej]])","v":0.30000000000000004},{"$nulls":44},"Strategi",0.8,0.75,0.02,0.06,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,0,0.4,{"$f":"SUM(AZ28:BN28)","v":2.1149999999999993}]