{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Total"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Total","index":0,"n_rows":24,"n_cols":80,"rows_kept":24,"cut":false,"hidden":false,"merged":[[0,0,1,1],[0,2,1,7],[0,62,1,63],[0,64,1,66],[2,0,2,1],[2,62,2,63],[3,0,5,0],[3,62,5,62],[6,0,8,0],[6,62,8,62],[9,0,11,0],[9,62,11,62],[21,0,23,0],[21,62,23,62],[12,0,14,0],[12,62,14,62],[15,0,17,0],[15,62,17,62],[18,0,20,0],[18,62,20,62]]}
[null,null,"Totalbelastning - marin plus fersk",{"$nulls":59},"Vandområde",null,"Damhusåen"]
[]
["Vandområde",null,"Damhus-åen","Harrestrup Å","Kagsåen","Amager Fælled","Kalvebod Fælled","Nordre Landkanal","Ørestad Kanaler","Søborg-hus Rende","Utterslev Mose","Kalve-boderne","Syd-havnen","Inder-havnen","Nord-havnen","Svane-mølle-bugten","Øst-havnen","Øresund","SUM",{"$nulls":43},"Adresse",null,"Nødoverløb Damhusåens renseanlæg","Hovedoverløb Damhus-ledning","Åhaven","Sønderkær","Vigerslev Allé","Gårdstedet","Heldbovej","Lykkebovej","Landlystvej","Skyttegårdsvej","Sandhusvej","Hvidovre station","Vigerslev-parken N for Dæmningen","Nødoverløb ved Torpedo-bygværket","Roskildevej","-"]
["Reduceret areal       ha","Status",390.51906299999996,249.45186899999999,1.8096160000000001,44.400000000000006,49.07,132.49816000000001,49.029999999999987,22.711001,160.22796399999999,379.5733155625,976.85713699999997,342.56431168750004,322.90716500000002,574.14186737499995,382.94327500000003,0,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":4078.7047446249999},{"$nulls":43},"Reduceret areal       ha","Status",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,{"$f":"SUM(BM4:CA4)","v":390.51906299999996}]
[null,"Plan",390.51906299999996,253.72686899999999,1.8096160000000001,44.400000000000006,49.07,132.49816000000001,481.00327499999997,22.711001,160.22796399999999,384.08581556249999,1072.5746369999999,345.31431168750004,337.66716500000001,581.74686737499997,382.94327500000003,0,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":4640.2980196249991},{"$nulls":44},"Plan",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
[null,"Strategi",390.51906299999996,334.95186899999999,1.8096160000000001,44.400000000000006,49.07,132.49816000000001,622.33660833333329,22.711001,160.22796399999999,469.8233155625,1164.3121370000001,468.23097835416672,434.50716500000004,726.24186737499997,382.94327500000003,141.33333333333334,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":5545.916352958332},{"$nulls":44},"Strategi",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
["Maks udledning        l/s","Status",19800,20500,800,3125,5725,7227,21289.4,1360,7880,15270,53740,39207,23720.74,23790,4060,1500,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":248994.13999999998},{"$nulls":43},"Maks udledning        l/s","Status",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Plan",19800,20760,800,3125,5755,7227,21289.4,1360,7880,15540,74080,39377,24610.74,24250,4060,1500,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":271414.14},{"$nulls":44},"Plan",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Strategi",19800,25630,800,3125,5755,7227,29769.4,1360,7880,20690,64990,46747,30420.74,32920,4060,9980,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":311154.14},{"$nulls":44},"Strategi",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
["Overløbshyppighed antal/år","Status",17.95,49,0.2,36,19,56,32,7,11.5,7,31.1,71.8,11,25,1,15,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":390.55},{"$nulls":43},"Overløbshyppighed antal/år","Status",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Plan",17.95,5,0.2,36,16,56,16,6,6.5,2,17.3,71.8,10,25,1,15,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":301.75},{"$nulls":44},"Plan",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Strategi",11.295,3.7334595959595962,0.1,0,16,55.1,15.5,2.4,2.95,0.83333333333333326,7.4211111111111112,32.85,5,9,0.5,15,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":177.68290404040405},{"$nulls":44},"Strategi",1,0.1,0.05,0.01,0.01,0.01,0.01,0.01,2.5000000000000001E-2,0.03,0.01,0.01,0.02,0,10,"-"]
["Vand                         m3/år","Status",30342,241616,100,110122.33881747222,147457.65512265512,49671.832130832132,411848.17311030836,3467,15500,98882.096641639611,475531.36727922084,609314.29029046209,377086.36229849124,421256.29206957552,10047.202033036849,105000,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":3107242.6097936942},{"$nulls":43},"Vand                         m3/år","Status",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,{"$f":"SUM(BM13:CA13)","v":30342}]
[null,"Plan",30342,47328.588989898992,100,110122.33881747222,162678.43434343435,49671.832130832132,411848.17311030836,2867,7166.6666666666661,55839.654974972938,202153.97225757578,619720.43054891145,437995.37164428568,445552.29206957557,10047.202033036849,105000,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":2698433.9575869711},{"$nulls":44},"Plan",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,30342]
[null,"Strategi",4304,313742.92878787877,50,163510.41700358089,170812.35606060608,47576.423737373734,864067.13176582369,600,2616.6666666666665,338844.48480705492,732216.94466194091,906261.75480498536,639679.53041341575,621743.90667305421,6972.3621346886912,545453.75,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":5358452.657517069},{"$nulls":44},"Strategi",1704,1500,50,100,10,10,10,10,50,10,10,10,50,0,780,4304]
["COD                            kg/år","Status",1517.1000000000001,12080.8,5,17619.574210795556,23593.224819624818,7417.2931409331404,53630.267697649324,173.35,775,6648.1254626623377,28434.650582857143,69117.986446473966,43555.737967758607,22287.366731132082,892.11232528589585,5413250,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":5700997.5893851733},{"$nulls":43},"COD                            kg/år","Status",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Plan",1517.1000000000001,4896.4294494949499,5,17619.574210795556,26028.549494949493,7417.2931409331404,53630.267697649324,143.35,358.33333333333331,7246.003379329004,17902.359727878789,71288.293459396431,55511.188435048331,28122.166731132078,892.11232528589585,3342250,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":3634828.0213852264},{"$nulls":44},"Plan",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Strategi",215.63749999999999,48687.146439393939,2.5,26161.666720572946,27329.976969696971,7559.2077979797978,132893.1085825318,30,130.83333333333334,54076.975902462123,114469.80336813275,134247.63726879764,100819.42986614653,91772.975067688676,757.85794155019062,3102272.6875,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":3841427.4442582866},{"$nulls":44},"Strategi",85,75,2,5.9,0.5,0.5,0.5,0.5,2.5,0.5,0.5,0.5,2.5,0,39,215.4]
["Total N                    kg/år","Status",60.684000000000026,483.23200000000003,0.2,1101.2233881747222,1474.5765512265511,458.15832130832126,3226.4497311030827,6.9340000000000002,31,321.69296641639608,1287.4700364285713,4029.702902904623,2550.6396229849129,931.57092069575481,48.44002033036849,804210,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":820221.97446157329},{"$nulls":43},"Total N                    kg/år","Status",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Plan",60.684000000000026,278.65717797979801,0.2,1101.2233881747222,1626.7843434343433,458.15832130832126,3226.4497311030827,5.7340000000000009,14.333333333333332,435.60808308306275,975.19238924242427,4170.5151834215212,3320.4576416765017,1316.1629206957546,48.44002033036849,566210,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":583248.6005337832},{"$nulls":44},"Plan",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Strategi",8.6254999999999953,3027.4858575757576,0.1,1635.1041700358091,1708.1235606060607,471.90823737373739,8251.0253176582373,1.2000000000000002,5.2333333333333334,3378.3981814038825,7127.3943355082965,8280.4907480498532,6285.6078041341589,5656.9990667305428,43.70762134688691,526090.90749999997,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":571972.31123375648},{"$nulls":44},"Strategi",3.4,3,0.08,0.2,0.02,0.02,0.02,0.02,0.1,0.02,0.02,0.02,0.1,0,1.6,8.6199999999999974]
["Total P                                         kg/år","Status",15.171000000000006,870.80799999999999,0.05,275.30584704368056,368.64413780663779,114.53958032708032,806.61243277577069,1.7335,7.75,80.423241604099019,321.86750910714284,1007.4257257261557,637.65990574622822,232.8927301739387,12.110005082592123,133852.5,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":138605.49361539332},{"$nulls":43},"Total P                                         kg/år","Status",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Plan",15.171000000000006,12.164294494949495,0.05,275.30584704368056,406.69608585858583,114.53958032708032,806.61243277577069,1.4335000000000002,3.583333333333333,108.90202077076569,239.79809731060607,1042.6287958553803,830.11441041912542,329.04073017393864,12.110005082592123,55052.5,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":59250.650133445808},{"$nulls":44},"Plan",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Strategi",2.1563749999999988,6.8714643939393936,2.5000000000000001E-2,408.77604250895229,427.03089015151517,117.97705934343435,2062.7563294145593,0.30000000000000004,1.3083333333333333,844.59954535097063,1781.8485838770741,2070.1226870124633,1571.4019510335397,1414.2497666826357,10.926905336721727,51472.726875,{"$f":"SUM(Tabel118[[#This Row],[Damhus-åen]:[Øresund]])","v":62193.077808439142},{"$nulls":44},"Strategi",0.8,0.75,0.02,0.06,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,0,0.4,{"$f":"SUM(BM24:CA24)","v":2.1149999999999993}]