{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Utterslev Mose"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Utterslev Mose","index":0,"n_rows":28,"n_cols":71,"rows_kept":28,"cut":false,"hidden":false,"merged":[[19,0,21,0],[19,53,21,53],[22,0,24,0],[22,53,24,53],[25,0,27,0],[25,53,27,53],[10,0,12,0],[10,53,12,53],[13,0,15,0],[13,53,15,53],[16,0,18,0],[16,53,18,53],[3,0,3,1],[3,53,3,54],[4,0,6,0],[4,53,6,53],[7,0,9,0],[7,53,9,53],[0,0,1,1],[0,2,1,4],[0,53,1,54],[0,55,1,57],[2,0,2,1],[2,53,2,54]]}
["Vandområde",null,"Utterslev Mose",{"$nulls":50},"Vandområde",null,"Damhusåen"]
[]
["Udlednings nr. ",null,"UM14","UM16","UM17b","UM18","UM19b","UM21","UM26",{"$nulls":44},"Udlednings nr. ",null,"UD10b","UD10d","UD11b","UD12","UD13","UD14","UD15","UD16","UD17","UD18","UD19b","UD20b","UD21","UD21b","UD24","Sum"]
["Adresse",null,"Ved Vigen","Støvnæs Allé","Folevadsvej","Mosesvinget v. Andestien","Hareskovvej","Pilesvinget","Ruten","SUM",{"$nulls":43},"Adresse",null,"Nødoverløb Damhusåens renseanlæg","Hovedoverløb Damhus-ledning","Åhaven","Sønderkær","Vigerslev Allé","Gårdstedet","Heldbovej","Lykkebovej","Landlystvej","Skyttegårdsvej","Sandhusvej","Hvidovre station","Vigerslev-parken N for Dæmningen","Nødoverløb ved Torpedo-bygværket","Roskildevej","-"]
["Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-",{"$nulls":43},"Kloakeringstype","Status","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-",{"$nulls":44},"Plan","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
[null,"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-",{"$nulls":44},"Strategi","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","Fælles","-"]
["Reduceret areal       ha","Status",19.585799000000002,13.306354000000001,56.510713000000003,7.2879940000000003,8.0697410000000005,41.51887,13.948492999999999,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":160.22796399999999},{"$nulls":43},"Reduceret areal       ha","Status",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,{"$f":"SUM(BD8:BR8)","v":390.51906299999996}]
[null,"Plan",19.585799000000002,13.306354000000001,56.510713000000003,7.2879940000000003,8.0697410000000005,41.51887,13.948492999999999,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":160.22796399999999},{"$nulls":44},"Plan",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
[null,"Strategi",19.585799000000002,13.306354000000001,56.510713000000003,7.2879940000000003,8.0697410000000005,41.51887,13.948492999999999,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":160.22796399999999},{"$nulls":44},"Strategi",62.096269999999997,0,4.9262990000000002,13.292068,9.0631889999999995,1.4540759999999999,1.5233950000000001,3.503314,1.9389799999999999,4.8509120000000001,2.2999999999999998,1.07056,284.5,0,0,390.51906299999996]
["Maks udledning        l/s","Status",1180,200,2500,1000,700,2000,300,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":7880},{"$nulls":43},"Maks udledning        l/s","Status",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Plan",1180,200,2500,1000,700,2000,300,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":7880},{"$nulls":44},"Plan",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
[null,"Strategi",1180,200,2500,1000,700,2000,300,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":7880},{"$nulls":44},"Strategi",5000,5000,700,3000,1200,500,100,300,300,500,500,200,1500,0,1000,19800]
["Overløbshyppighed antal/år","Status",1,1,1,1,0.5,1,6,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":11.5},{"$nulls":43},"Overløbshyppighed antal/år","Status",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Plan",1,1,1,1,0.5,1,1,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":6.5},{"$nulls":44},"Plan",2,1,0.5,0.1,0.1,0.1,0.1,0.1,0.25,0.3,0.1,0.1,0.2,0,13,"-"]
[null,"Strategi",0.5,0.5,0.5,1,0.25,0.1,0.1,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":2.95},{"$nulls":44},"Strategi",1,0.1,0.05,0.01,0.01,0.01,0.01,0.01,2.5000000000000001E-2,0.03,0.01,0.01,0.02,0,10,"-"]
["Vand                         m3/år","Status",1000,1000,1000,1000,500,1000,10000,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":15500},{"$nulls":43},"Vand                         m3/år","Status",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,{"$f":"SUM(BD17:BR17)","v":30342}]
[null,"Plan",1000,1000,1000,1000,500,1000,1666.6666666666665,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":7166.6666666666661},{"$nulls":44},"Plan",3408,15000,500,1000,100,100,100,100,500,100,100,100,500,0,8734,30342]
[null,"Strategi",166.66666666666666,500,200,900,250,100,500,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":2616.6666666666665},{"$nulls":44},"Strategi",1704,1500,50,100,10,10,10,10,50,10,10,10,50,0,780,4304]
["COD                            kg/år","Status",50,50,50,50,25,50,500,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":775},{"$nulls":43},"COD                            kg/år","Status",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Plan",50,50,50,50,25,50,83.333333333333329,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":358.33333333333331},{"$nulls":44},"Plan",170,750,25,50,5,5,5,5,25,5,5,5,25,0,437,1517]
[null,"Strategi",8.3333333333333339,25,10,45,12.5,5,25,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":130.83333333333334},{"$nulls":44},"Strategi",85,75,2,5.9,0.5,0.5,0.5,0.5,2.5,0.5,0.5,0.5,2.5,0,39,215.4]
["Total N                    kg/år","Status",2,2,2,2,1,2,20,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":31},{"$nulls":43},"Total N                    kg/år","Status",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Plan",2,2,2,2,1,2,3.333333333333333,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":14.333333333333332},{"$nulls":44},"Plan",6.8,30,1,2,0.2,0.2,0.2,0.2,1,0.2,0.2,0.2,1,0,17.5,60.700000000000017]
[null,"Strategi",0.33333333333333331,1,0.4,1.8,0.5,0.2,1,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":5.2333333333333334},{"$nulls":44},"Strategi",3.4,3,0.08,0.2,0.02,0.02,0.02,0.02,0.1,0.02,0.02,0.02,0.1,0,1.6,8.6199999999999974]
["Total P                                         kg/år","Status",0.5,0.5,0.5,0.5,0.25,0.5,5,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":7.75},{"$nulls":43},"Total P                                         kg/år","Status",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Plan",0.5,0.5,0.5,0.5,0.25,0.5,0.83333333333333326,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":3.583333333333333},{"$nulls":44},"Plan",1.7,7.5,0.25,0.5,0.05,0.05,0.05,0.05,0.25,0.05,0.05,0.05,0.25,0,4.4000000000000004,15.200000000000005]
[null,"Strategi",8.3333333333333329E-2,0.25,0.1,0.45,0.125,0.05,0.25,{"$f":"SUM(Tabel19[[#This Row],[Ved Vigen]:[Ruten]])","v":1.3083333333333333},{"$nulls":44},"Strategi",0.8,0.75,0.02,0.06,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,5.0000000000000001E-3,5.0000000000000001E-3,5.0000000000000001E-3,2.5000000000000001E-2,0,0.4,{"$f":"SUM(BD28:BR28)","v":2.1149999999999993}]